|  |
| --- |
| **IMPORTANT INFORMATION FOR THE APPLICANT** |
| * This checklist is designed to assist the owner, agent and designer with the documentation content and level of design information that must be provided with your Building Consent application. The checklist will help ensure that drawings, specifications and other relevant design documents are complete, accurate and are compliant with the New Zealand Building Code.
* When completing this form please ensure that all sections titled “Applicant to Complete,” (orange sections) are filled out in full, with the relevant information to demonstrate compliance with the performance criteria of the application Building Code Clause.
* **Failure to provide complete documentation may result in the Building Consent Application being delayed due to RFI requests or refused outright.**
* Once completed this checklist should be uploaded along with all other required Building Consent Application files using the [QLDC website File Transfer Portal](http://www.qldc.govt.nz/planning/building-consents/apply-online/) (Sharefile).
 |

|  |
| --- |
| **Council Use Only** |
| **Consent Number**  | Click here to enter text. |
| **Processing start date**  | Click here to enter text. |
| **Building Category** | [ ]  **Com1** | [ ]  **Com2** | [ ]  **Com3** |
| **Processor’s name**  | Click here to enter text. |
| Property Information |
| **Applicant to Complete** |
| **Address:** | Click here to enter text. |
| **Description of work:** |  |
| **Number of levels above/below ground level:** | Above: Click here to enter text. | Below: Click here to enter text. |
| **E2 Risk Matrix Score:** | Click to enter text. | Note: Highest score of all faces must be provided, even for internal alterations |
| **Classified Use(s):**[**Clause A1 - Classified Uses**](http://www.legislation.govt.nz/regulation/public/1992/0150/latest/DLM162576.html%23DLM6632400) | [ ]  Housing [ ]  Industrial [ ]  Commercial [ ]  Outbuilding [ ]  Ancillary [ ]  Communal Residential [ ]  Communal Non-Residential  |
| **Uses of Buildings:**[**Building Regulations 2005**](http://www.legislation.govt.nz/regulation/public/2005/0032/latest/whole.html#DLM313979) | [ ]  CS [ ]  CL [ ]  CM [ ]  CO [ ]  WF [ ]  WL [ ]  WM [ ]  WH [ ]  SC [ ]  SD [ ]  SA [ ]  SR [ ]  SH [ ]  IA [ ]  ID  |
| **Risk Group:** | [ ]  SM | [ ]  SI | [ ]  CA | [ ]  WB | [ ]  WS | [ ]  VP |
| **Importance Level(s):**[**Clause A3 - Building Importance Levels**](http://www.legislation.govt.nz/regulation/public/1992/0150/latest/DLM162576.html%23DLM4417717) | Choose an item. |
| Confirmation of Property Information Council Use Only  |
|  |

|  |
| --- |
| Form 2: Application for Project Information Memorandum and/or Building Consent  |

|  |  |
| --- | --- |
| **Applicant to Complete** | **Council Use Only** |
| **Yes** | **N/A** | **Description** | **Yes** | **N/A** | **RFI** | **Reasons for Decisions / Comments** |
| [ ]  |  | **All sections of** [**Form 2**](https://www.qldc.govt.nz/planning/building-consents/application-forms/residentia/) completed including form signed (Section 2), accurate description of building work (Section 3), Contact details (Sections 4, 5 & 11), Restricted Building Work (RBW) details (Section 6), Means of compliance (Section 8)  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| [ ]  |  | [**Building Consent Fee Calculator**](https://www.qldc.govt.nz/planning/building-consents/application-forms/residentia/) provided (completed by the applicant) and accurate estimate for value of work | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| [ ]  |  | **Proof of ownership** provided (Certificate of Title (CT – **less than 3 months old**), Rates Account, Sale and Purchase Agreement or Lease) |
| [ ]  | [ ]  | **Letter or email from the owner** **appointing agent**, where an agent has completed the application |

|  |
| --- |
| Product Certification |

|  |  |
| --- | --- |
| **Applicant to Complete** | **Council Use Only** |
| **Yes** | **N/A** | **Description** | **Yes** | **N/A** | **RFI** | **Reasons for Decisions / Comments** |
| [ ]  | [ ]  | [**BRANZ / BEAL appraisals**](https://www.branz.co.nz/cms_display.php?sn=328&st=1&pg=19308)If Yes, please list applicable products:Click here to enter text. | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| [ ]  | [ ]  | [**Codemark Certificates:**](https://www.building.govt.nz/building-code-compliance/product-assurance-and-multiproof/codemark/product-certificate-register/)If Yes, please list applicable products Click here to enter text. | [ ]  | [ ]  | [ ]  | Click here to enter text. |
|  |  |  |  |  |  |  |

|  |
| --- |
| General  |

|  |  |
| --- | --- |
| **Applicant to Complete** | **Council Use Only** |
| **Yes** | **N/A** | **Description** | **Yes** | **N/A** | **RFI** | **Reasons for Decisions / comments** |
| [ ]  | [ ]  | **Siting dimensions on site plan** (minimum 3 dimensions) | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| [ ]  | [ ]  | **Finished ground level (FGL) and finished floor levels (FFL)** shown on site plan/details as per relevant Consent Notice | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| [ ]  | [ ]  | **Datum / contours** shown demonstrating site drainage requirements can be met  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| [ ]  | [ ]  | **All building work included** in building consent shown on site plan ([Schedule 1](http://www.legislation.govt.nz/act/public/2004/0072/latest/DLM5770963.html#DLM5770963) works **not** included on documentation) | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| [ ]  | [ ]  | **Main access to building** shown on plans *(required for Code Clause D1)* | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| [ ]  | [ ]  | **Public and/or private sewer and stormwater drainage** shown on site plan: location, connections, cess pits *(required for Code Clauses E1 & G13)* | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| [ ]  | [ ]  | **Demolition***Any to be clearly identified* | [ ]  | [ ]  | [ ]  | Click here to enter text. |

|  |
| --- |
| **Alterations to an existing building(s) or Change of Use** [*Section 112*](http://legislation.govt.nz/act/public/2004/0072/141.0/DLM306875.html) *– Means of escape and Access and Facilities for persons with disabilities (not a first fit out of a new building)*[*Section 115*](http://legislation.govt.nz/act/public/2004/0072/141.0/DLM306878.html) *– Means of escape from fire, protection of other property, sanitary facilities, structural performance and fire-rating performance*  |
| **Select one** | **Applicant to Complete** |
| [ ]  | **Alterations to an existing building** |
| [ ]  | **Change of Use** (to part or all of the building and where additional Building Code requirements or more onerous requirements) | **Current use:** Choose an item. | **Proposed use:** Choose an item. |
| **Building Score and assessment provided for the whole building** [*MBIE Building Score Methodology*](https://www.building.govt.nz/building-code-compliance/c-protection-from-fire/c-clauses-c1-c6/means-of-escape/our-recommended-approach/) *to establish level of information to be provided to review relevant Code Clause requirements.* *Note: Unit titles or alterations to tenancies within an existing building, the whole building must be assessed.* |
| [ ]  | **1-11 - Statement of change** |
| [ ]  | **12-19 – Gap Assessment** |
| [ ]  | **20+ - Full Assessment** |
| See applicable Code Clause sections in checklist in relation to Section [112](http://legislation.govt.nz/act/public/2004/0072/141.0/DLM306875.html) & [115](http://legislation.govt.nz/act/public/2004/0072/141.0/DLM306880.html) Building Act 2004  |

|  |
| --- |
| B1 Structure: Landscape Retaining Walls |
| **N/A** [ ]  | **Applicant to Complete** | **N/A** [ ]  | **Council Use Only** |
| **Description** | **Yes** | **N/A** | **RFI** | **Reasons for Decisions/ Comments** |
| Provide information to demonstrate compliance with Code Clause performance requirements | **Masonry types**: [ ]  Type B: PS1 & PS3/4 [ ]  Type C [ ]  Other (NZS 4229) [ ]  **CS7.2 form - PS details provided**  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Construction details** provided: footings, wall construction, height | [ ]  | [ ]  | [ ]  | Click here to enter text.  |
| **Surcharge** correctly factored into design | [ ]  | [ ]  | [ ]  | Click here to enter text.  |
| **Drainage** medium, tanking and protection specified  | [ ]  | [ ]  | [ ]  | Click here to enter text.  |
| **Barrier** specified and details provided | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Excavations** potentially affecting neighbouring properties mitigated (Check [QMaps](http://qmaps/localmaps)) | [ ]  | [ ]  | [ ]  | Click here to enter text. |

|  |
| --- |
| B1 Structure: Strip Footings |
| **N/A** [ ]  | **Applicant to Complete** | **N/A** [ ]  | **Council Use Only** |
| **Description** | **Yes** | **N/A** | **RFI** | **Reasons for Decisions/ Comments** |
| Provide information to demonstrate compliance with Code Clause performance requirements | NZS3604 or SED with PS1/PS2 | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Footing** (depth, size, steps due to ground slope, MPa) | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Reinforcing** (size, type, centres, grade) | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Columns** and **posts pads** (size, type, centres, grade) | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Underpinning/screw piles** | [ ]  | [ ]  | [ ]  | Click here to enter text.  |
| Details provided for **steps in foundations** (due to ground slope) | [ ]  | [ ]  | [ ]  | Click here to enter text. |

|  |
| --- |
| B1 Structure: Slabs |
| **N/A** [ ]  | **Applicant to Complete** | **N/A** [ ]  | **Council Use Only** |
| **Description** | **Yes** | **N/A** | **RFI** | **Reasons for Decisions/ Comments** |
| Provide information to demonstrate compliance with Code Clause performance requirements | [ ]  Slab-on-grade [ ]  Raft [ ]  Suspended Floor [ ]  **CS7.2 form- PS details provided** | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Foundation edge** detail(s) with dimensions, reinforcing size and grade and concrete strength  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Base preparation**: sand, hard-fill 75mm min to 600mm max (SED required if >600mm). Damp Proof Membranes (DPM)*.*[ ]  **CS7.2 form- PS details provided**  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Slab** thickness and reinforcing cover. **Mesh** type (i.e. 500 E) and size (i.e. SE62)  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Shrinkage control joints**, supplementary reinforcing bars, free joints (max dimension of slab 24 m either way without free joints).  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Point loads pads / slab thickenings** shown on foundation plans | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Column/post**: foundations/footings  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Additions** **to existing slab**: connection to existing slab (joint preparation & starters)  | [ ]  | [ ]  | [ ]  | Click here to enter text. |

|  |
| --- |
| B1 Structure: Foundation Wall – Concrete/Masonry |
| **N/A** [ ]  | **Applicant to Complete** | **N/A** [ ]  | **Council Use Only** |
| **Description** | **Yes** | **N/A** | **RFI** | **Reasons for Decisions/ Comments** |
| Provide information to demonstrate compliance with Code Clause performance requirements | NZS3604, NZS4229 or SED (PS1 / PS2) | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Wall height**: minimum, maximum  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Vertical and horizontal reinforcing / starters**: size, centres | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Masonry type** A, B, CGrout strength (MPa) | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Seacant piles, soldier piles or precast piles** | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Retaining / split-level** (waterproofing and provision of drainage) | [ ]  | [ ]  | [ ]  | Click here to enter text. |

|  |
| --- |
| B1 Structure: Subfloor Foundation Framing and Bracing |
| **N/A** [ ]  | **Applicant to Complete** | **N/A** [ ]  | **Council Use Only** |
| **Description** | **Yes** | **N/A** | **RFI** | **Reasons for Decisions/ Comments** |
| Provide information to demonstrate compliance with Code Clause performance requirements | **Pile foundation plan**: depth, size, centres, treatment, heights, point loads  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Ordinary piles**: size, depth, pile height, treatment connections  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Driven Piles** (SED) [ ] **CS7.2 form- PS details provided** | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Braced / Anchor piles**: footing size, pile height, connections  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Subfloor bracing** **calculations**: zone, demand, capacity  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Subfloor bracing plan**: type, location, length, 5.0m centres max, 4 bracing elements minimum, evenly distributed  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **2-storey** (height versus width) | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Diaphragms** >100 BUs, location, limitations  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Bearers**: size, centres, treatment, span, point loads, cantilever, loading, fixing to foundation  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Joists:** size, centres, span, point loads, cantilever, loading, penetrations  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Lateral support** mid-span, blocking, bracing lines  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Cantilever joist** (2.4m maximum wall height), support for load bearing walls  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Flooring** thickness, clearances, type | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Base cladding**: type, support, access, ventilation, crawlspace (450 mm minimum), vermin proofing, obstructions, large area, limited cross flow  | [ ]  | [ ]  | [ ]  | Click here to enter text. |

|  |
| --- |
| B1 Structure: Mid-Floor |
| **N/A** [ ]  | **Applicant to Complete** | **N/A** [ ]  | **Council Use Only** |
| **Description** | **Yes** | **N/A** | **RFI** | **Reasons for Decisions/ Comments** |
| Provide information to demonstrate compliance with Code Clause performance requirements | **Mid floor type**: timber floor joist, suspended concrete slab, SED etc.  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Floor joists**: cantilever, floor load, penetrations, treatment, size, centres, span, point loads  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Flooring** type and diaphragm (if applicable) | [ ]  | [ ]  | [ ]  | Click here to enter text. |

|  |
| --- |
| B1 Structure: SED Structural Steel Frame and Concrete Structures |
| **N/A** [ ]  | **Applicant to Complete** | **N/A** [ ]  | **Council Use Only** |
| **Description** | **Yes** | **N/A** | **RFI** | **Reasons for Decisions/ Comments** |
| Provide information to demonstrate compliance with Code Clause performance requirements  | SED: PS1, PS2, proprietary systems**PS2 provided where roof spans over 20 m applicable in structural design** | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Structure / load path**: beams / posts, SED, timber, steel, flitch, LVL; fixing details provided | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| All structures requiring SED, covered by design(**Design features report**) | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **All referenced details and sections provided** | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Foundation design conforms to site geotechnical parameters**  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Design floor loadings** in accordance with AS/NZS 1170 | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Adequate dimensioning** provided | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Stability of structural** components as required by the Fire report | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Structural concrete** adequately detailed on plans | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Concrete strengths and reinforcing** cover detailed on plans | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Portal frames, structural steel frames, space frames, girts, etc.** | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Racking systems** | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Ground anchors** | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Seismic strengthening** included in consent application | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Demolition** – site monitoring of adjacent buildings | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Alteration or removal of existing structural elements**  | [ ]  | [ ]  | [ ]  | Click here to enter text. |

|  |
| --- |
| B1 Structure: Decks Construction (ground floor or external decks above ground floor) |
| **N/A** [ ]  | **Applicant to Complete** | **N/A** [ ]  | **Council Use Only** |
| **Description** | **Yes** | **N/A** | **RFI** | **Reasons for Decisions/ Comments** |
| Provide information to demonstrate compliance with Code Clause performance requirements | **Deck piles**: layout, size, footing depth, centres, treatment, height, connections  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Subfloor deck bracing** (if projects >2.0m from the building)  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Bearers**: size, span, treatment | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Joists**: 2.0 kPa, size, span, centres, cantilever, saddle flashings  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Decking**: material, type, fixings, treatment, finished floor level  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Stringer**: stair construction / deck stringer, size, span, fixings, air-gap  | [ ]  | [ ]  | [ ]  | Click here to enter text. |

|  |
| --- |
| B1 Structure: Walls (all levels) |
| **N/A** [ ]  | **Applicant to Complete** | **N/A** [ ]  | **Council Use Only** |
| **Description** | **Yes** | **N/A** | **RFI** | **Reasons for Decisions/ Comments** |
| Provide information to demonstrate compliance with Code Clause performance requirements | NZS3604, NZS4229, SED (PS1 / PS2) | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Framing** (NZS3604, SED, Steel)(treatment, grade, size) | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Gable end** framed for cladding | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Bottom and top plate** (size, point loads, bracing) | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Stud / post** (size, height, spacing, fixings, uplift) | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Structure / load path:** beams / posts, SED, timber, steel, flitch, LVL; fixing details provided | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Lintel** (size, point loads, fixings, C/L) | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Pre-cast concrete wall panels** - fixings | [ ]  | [ ]  | [ ]  | Click here to enter text. |

|  |
| --- |
| B1 Structure: Wall Bracing (all floors) |
| **N/A** [ ]  | **Applicant to Complete** | **N/A** [ ]  | **Council Use Only** |
| **Description** | **Yes** | **N/A** | **RFI** | **Reasons for Decisions/ Comments** |
| Provide information to demonstrate compliance with Code Clause performance requirements | NZS3604 or SED (PS1 / PS2) | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Wall bracing calculations** - zone, demand, capacity | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Plan** - location of bracing elements, 6.0m c/s, evenly distributed, wings, blocks, wet areas, split or discontinuous levels, type, location, length | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Dragon ties** to extend brace lines to 7.5m> 100 Bus, location | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Ceiling diaphragm** - >100 BUs, location, limitations, construction details | [ ]  | [ ]  | [ ]  | Click here to enter text. |

|  |
| --- |
| B1 Structure: Roof and Ceiling Framing |
| **N/A** [ ]  | **Applicant to Complete** | **N/A** [ ]  | **Council Use Only** |
| **Description** | **Yes** | **N/A** | **RFI** | **Reasons for Decisions/ Comments** |
| Provide information to demonstrate compliance with Code Clause performance requirements | NZS3604 or SED (PS1 / PS2) | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Roof type** - pitched, trussed, skillion, couple-close, other – (roof pitch vs. material) | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Trusses** - design and software statement, truss layout | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Roof bracing / building paper** | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Rafter / ridge beam**Size, span, support, fixings  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Purlin**, tile batten, size, span, centres, fixings  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Membrane roof framing** (ceiling joists) size, span, centres, fixings, fall, ventilation and limitations | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Ceiling /Rondo battens** Size, span, centres, fixings, ceiling lining | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Suspended ceilings** (seismic restraint) | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Ceiling lining** - type, thickness, fixing  | [ ]  | [ ]  | [ ]  | Click here to enter text. |

|  |
| --- |
| B2 Durability |
| B2 Durability must always be considered when demonstrating compliance with each of the clauses of the Building Code.  In other words, it ensures that a building will continue to satisfy the performance of the Building Code throughout its specified intended life. Under the clause, building materials, components and construction methods are required to be sufficiently durable.  They must ensure that the building, without reconstruction or major renovation, continues to satisfy the other functional requirements of the Building Code throughout its life. B2 specifies minimum durability periods building elements must meet with only normal maintenance, being not less than 50, 15 or 5 years. |

|  |
| --- |
| C1- C6 Protection from Fire  |
| **Alterations to an existing building or change of use** [*Section 112*](http://legislation.govt.nz/act/public/2004/0072/141.0/DLM306875.html) *or* [*Section 115*](http://legislation.govt.nz/act/public/2004/0072/141.0/DLM306878.html) *Means of Escape assessment - alterations/additions/change use (not a first fit out of a new building)*[*MBIE Building Score Methodology*](https://www.building.govt.nz/building-code-compliance/c-protection-from-fire/c-clauses-c1-c6/means-of-escape/our-recommended-approach/) *to establish level of information to be provided to review relevant fire design requirements****.***  |
| **Council Use Only** | **Decision** |
| **Yes** | **N/A** |
| **Does Section 112** **apply?** **(Alteration to an existing building)** Parts 1, 2, 3 and 4 of the below checklist apply.  | [ ]  | [ ]  |
| **Does Section 115 apply?** **(Change of Use)** Parts 1, 2, 3, 4 and 5 of the below checklist apply  | [ ]  | [ ]  |
| **Does Section 116A apply? (Subdivision)** - Means of escape from fire and protection of other property  | [ ]  | [ ]  |

|  |
| --- |
| **Part 1: General** |
| **N/A** [ ]  | **Applicant to Complete** | **N/A** [ ]  | **Council Use Only** |
| **Description** | **Yes** | **N/A** | **RFI** | **Reasons for Decisions / Comments** |
| Provide information to demonstrate compliance with Code Clause performance requirements | Scope of **risk group**  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Primary risk group** *(if more than one)* | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Occupant densities** and **occupant load**  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Fire Engineering Brief (FEB)** provided where C/VM2 or Alternative Solution used for means of compliance with stakeholder sign off | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **PS2 provided when C/VM2** is used as means of compliance | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Alteration to an existing building or Change of use assessment provided**  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Part 2: Firecells, fire safety systems and fire resistance ratings** |
| Provide information to demonstrate compliance with Code Clause performance requirements | **Firecell floor area limit**  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Fire safety systems**  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Requirements** **of firecell**  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Fire resistance ratings** (life rating/property rating) | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Type 9 system** required  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Part 3: Means of Escape** |
| Provide information to demonstrate compliance with Code Clause performance requirements | **Escape routes**: number*,* height and width  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Escape from basements**  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Open paths** / Special cases of open paths | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Dead ends**  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Exitways** / Control of exitway activities  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **External escape routes**  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Final exits**  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Single escape routes**  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Special conditions**  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Doors subdividing escape routes** (door features and fixings)  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Part 4: Control of Internal Fire & Smoke spread** |
| Provide information to demonstrate compliance with Code Clause performance requirements | **Glazing** in fire and smoke separations  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Structural stability during fire**  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Fire stopping / firecell construction**  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Special requirements for sleeping areas or theatres**  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Specific requirements for exhibitions and retail areas**  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Tiered seating**  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Exitways**  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Intermittent activities**  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Protected shafts**  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Long corridor subdivision**  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Floors**: intermediate, subfloor and concealed spaces  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Closures in fire and smoke separations**  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Interior surface finishes**, floor covering and suspended fabrics  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Building services plant**  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Part 5: Control of External Fire Spread**  |
| Provide information to demonstrate compliance with Code Clause performance requirements | **Relevant boundary** (actual or notional) **distance** measured from cladding not foundation | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Fire separation** for building with more than on title (subdivided)  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **External walls**: Horizontal fire spread, Fire resistance rating, small openings and fire resisting glazing and Table method for external walls | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Horizontal fire spread** from roofs and open sided buildings  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Vertical fire spread**  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Exterior surface finishes**  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Part 6: Firefighting**  |
| Provide information to demonstrate compliance with Code Clause performance requirements | **Fire and Emergency vehicular access**  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Information for firefighters** *Control panel location approval from FENZ provided with application* | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Firefighting facilities**  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Part 7: Prevention of Fire Occurring**  |
| Provide information to demonstrate compliance with Code Clause performance requirements | **Solid fuel** appliances  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Gas-burning** appliances  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Oil-fire** appliances  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Downlights**  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Open fires**  | [ ]  | [ ]  | [ ]  | Click here to enter text. |

|  |
| --- |
| D1 Access Routes (Internal and External) |
| **N/A** [ ]  | **Applicant to Complete** | **N/A** [ ]  | **Council Use Only** |
| **Description** | **Yes** | **N/A** | **RFI** | **Reasons for Decisions / Comments** |
| Provide information to demonstrate compliance with Code Clause performance requirements | **Alteration to an existing building or Change of use assessment provided** (where [Section 118](http://legislation.govt.nz/act/public/2004/0072/141.0/DLM306890.html) applies) | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Accessible route(s)**: principle entrance, location, slope, height clearances, obstructions, structural stability, barriers and lighting  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Access Routes**: slip resistance, width and protection from falling  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Ramps**: slope, slip resistance, width, landings, kerb ramps  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Stairways**: Pitch, risers and treads, width, landings, curved and spiral stairways, stair winders and visibility of stair treads  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Fixed ladders**: general, step-type ladders, rung-type ladders and individual run-type ladders  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Handrails**  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Door** and **Openings**  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Places of assembly**  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Accessible accommodation units of communal residential buildings**: number of units and facilities to be provided  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Parking, movement of vehicles** and circulation routes (including assessment of accessible carparks) | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Other Acceptable Solutions**: AS1657 - stairs, ladders, platforms and walkways for services and maintenance personnel  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Lift** required in this building? Occupancy based on *para.* *1.4 or para. 3.1 C/VM2*  | [ ]  | [ ]  | [ ]  | Click here to enter text. |

|  |
| --- |
| D2: Mechanical Installations for Access  |
| **N/A** [ ]  | **Applicant to Complete** | **N/A** [ ]  | **Council Use Only** |
| **Description** | **Yes** | **N/A** | **RFI** | **Reasons for Decisions / Comments** |
| Provide information to demonstrate compliance with Code Clause performance requirements | **Alteration to an existing building or Change of use assessment provided** (where [Section 118](http://legislation.govt.nz/act/public/2004/0072/141.0/DLM306890.html) applies) | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Lift required** *(D1.3.4(c) or NZS4121)*(Also determinations: [1995/008](https://www.building.govt.nz/assets/Uploads/resolving-problems/determinations/1995/1995-008.pdf); [2003/05](https://www.building.govt.nz/assets/Uploads/resolving-problems/determinations/2003/2003-05.pdf); [2005/49](https://www.building.govt.nz/assets/Uploads/resolving-problems/determinations/2005/2005-49.pdf); [2006/73](https://www.building.govt.nz/assets/Uploads/resolving-problems/determinations/2006/2006-73.pdf), [2017/084](https://www.building.govt.nz/assets/Uploads/2017-084.pdf)) | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Design calculations, specifications and plans** provided*D2/AS1 (NZS4332 or EN81-20), D2/AS2 (NZS4334), D2/AS3 (EN115) – PS1 provided*  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Accessible features detailed for lift**: controls panel, lift indicators, car size, door size, handrails, space in front. *NZS4212 (Section 9), Appendix C NZS4121 (Design for access and mobility – Alterations to Buildings) or NZS4334* | [ ]  | [ ]  | [ ]  | Click here to enter text. |

|  |
| --- |
| E1 Surface Water |
| **N/A** [ ]  | **Applicant to Complete** | **N/A** [ ]  | **Council Use Only** |
| **Description** | **Yes** | **N/A** | **RFI** | **Reasons for Decisions/ Comments** |
| Provide information to demonstrate compliance with Code Clause performance requirements | **E1/VM1** (PS1/PS2 provided) or **E1/AS1** *(check within scope)* | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Stormwater drainage outfall specified**: Council reticulation, private reticulation, soak pit etc.  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Soak pit design** (if applicable): onsite testing results, calculations, type and size of soak pit  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Finished floor level** of suspended floors or slabs checked in relation to surrounding land and road crown  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Stormwater drainage** size and gradient  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Stormwater run-off** (cesspits, catchment area, soakage, pump, pump capacity)  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Access for maintenance** (rodding points/inspection points etc.)  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Downpipes**, **external & internal gutter size**, **distribution, spreaders** (to lower roof) | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Strip drain/channel drain**: connection into stormwater with silt trap or similar prior | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Public drains affected** / approval, easement created or required*(refer to Certificate of Title &* [*GIS Mapping*](https://www.qldc.govt.nz/council-online/maps/gis-mapping/)*)*  | [ ]  | [ ]  | [ ]  | Click here to enter text. |

|  |
| --- |
| E2 External Moisture |
| **N/A** [ ]  | **Applicant to Complete** | **N/A** [ ]  | **Council use only** |
| **Description** | **Yes** | **N/A** | **RFI** | **Reasons for Decisions/ Comments** |
| **Roof/Wall Junctions** |
| Provide information to demonstrate compliance with Code Clause performance requirements | **Soffit** to wall junction  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Parapets** |
| Provide information to demonstrate compliance with Code Clause performance requirements | **Parapets / enclosed barriers**: framing, cap, drainage, junctions, slope  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Decks and Pergolas** |
| Provide information to demonstrate compliance with Code Clause performance requirements | **Thresholds for decks**  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Attachments** to building structure (deck/pergola)  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Level thresholds**  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Enclosed balustrades**  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Membrane deck**: thickness, fall, substrate, support, drainage, junction to wall and rainwater head and scupper [ ]  **CS7.2 form- PS details provided** | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Roof Claddings** |
| Provide information to demonstrate compliance with Code Clause performance requirements | **Roof underlay** type with product specification provided/CodeMark certificate/BRANZ appraisal  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Roof cladding** type(s), roof pitch, compatibility of materials[ ]  E2/AS1 [ ]  E2/AS2 [ ]  E2/AS3 [ ]  Alternative Solution [ ]  CodeMark  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Membrane roof**: thickness, substrate, support and rainwater head and scupper [ ]  **CS7.2 form- PS details provided** | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Roof flashings**: change in pitch, eaves/verge (membrane roof), roof/wall ridge, barge, fascia, apron flashings (transverse & parallel), gutter/wall junction  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Gutters**: internal gutters, valley gutters and hidden gutters  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Roof penetrations**: small pipes (terminal vent/roof ventilation), soaker flashings (flue or similar) other penetrations skylights/chimney  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Wall Claddings** |
| Provide information to demonstrate compliance with Code Clause performance requirements | **Bottom of cladding**: detail and clearances to ground, deck, roof  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Cladding underlay/air barrier**: type, compatibility, strapping  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Drained cavity**: batten size, horizontal/vertical battens, treatment, vermin proof  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Wall cladding** type(s), suitable for risk score, compatibility of materials, product specifications provided/CodeMark certificate/BRANZ appraisal [ ]  E2/AS1 [ ]  E2/AS2 [ ]  E2/AS3 [ ]  Alternative Solution [ ]  CodeMark  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Masonry veneer**: walls ties and lintels | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Penetrations**: pipes/services, meterbox/gas califont and inter storey junctions  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Wall junction** details: external/internal corners, change of cladding junction, control joints | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Window construction** specified (timber, aluminium, other)[ ]  NZS4211-E2/AS1 [ ]  Alternative Solution  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Window /door and garage door details**: head, sill and jamb  | [ ]  | [ ]  | [ ]  | Click here to enter text. |

|  |
| --- |
| E3 Internal Moisture |
| **N/A** [ ]  | **Applicant to Complete** | **N/A** [ ]  | **Council Use Only** |
| **Description** | **Yes** | **N/A** | **RFI** | **Reasons for Decisions/ Comments** |
| Provide information to demonstrate compliance with Code Clause performance requirements | **Thermal resistance walls / ceiling**; thermal break for steel framing*Applies to Communal residential only*  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Condensation control**  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Waterproofing** (type); overflow/ containment provision (other property)  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Watersplash:** Showers, urinals, baths – impervious surfaces walls and floors and junction details provided  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Vapour barrier to roof / wall cavity spaces** in high humidity rooms such as indoor pools or saunas | [ ]  | [ ]  | [ ]  | Click here to enter text. |

|  |
| --- |
| F1 Hazardous Agents on Site |
| **N/A** [ ]  | **Applicant to Complete** | **N/A** [ ]  | **Council Use Only** |
| **Description** | **Yes** | **N/A** | **RFI** | **Reasons for Decisions/ Comments** |
| Provide information to demonstrate compliance with Code Clause performance requirements | **Contamination** PIM/PIC information reviewed. Check whether remedied through subdivision consent. | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Site investigation report and assessment** F1/VM1  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Remedial actions** provided (detailed)  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Hazard to building elements** (preventative measures detailed)  | [ ]  | [ ]  | [ ]  | Click here to enter text. |

|  |
| --- |
| F2 Hazardous Building Materials |
| **N/A** [ ]  | **Applicant to Complete** | **N/A** [ ]  | **Council Use Only** |
| **Description** | **Yes** | **N/A** | **RFI** | **Reasons for Decisions/ Comments** |
| Provide information to demonstrate compliance with Code Clause performance requirements | **Glazing specifications** provided for windows/doors and barriers (i.e. shown on elevations or window/door schedule provided) | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Manifestation** to full height glazing - unimpeded path of travel  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Asbestos** products especially in adds / alterations for pre-1990 buildings  | [ ]  | [ ]  | [ ]  | Click here to enter text. |

|  |
| --- |
| F3 Hazardous Substances and processes |
| **N/A** [ ]  | **Applicant to Complete** | **N/A** [ ]  | **Council Use Only** |
| **Description** | **Yes** | **N/A** | **RFI** | **Reasons for Decisions/ Comments** |
| Provide information to demonstrate compliance with Code Clause performance requirements | **PS1 and/or PS2 provided**  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Location test certificate or exempt laboratory** | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **X-ray, radioactive equipment** | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| *Note: Hazardous Substances regulated and enforced by WORKSAFE* |

|  |
| --- |
| F4 Safety from Falling |
| **N/A** [ ]  | **Applicant to Complete** | **N/A** [ ]  | **Council Use Only** |
| **Description** | **Yes** | **N/A** | **RFI** | **Reasons for Decisions/ Comments** |
| Provide information to demonstrate compliance with Code Clause performance requirements | Barrier located in spaces **frequented by children under 6 years old** | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| Barrier located in spaces **NOT frequented by children under 6 years old** | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Barriers** **to stairs, ramps and other location** (height, top / bottom rails, spacing and openings) (areas) *(para. 1.2 & Table 1)* | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Fixed seating** to decks *(para. 1.2.4)*  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Barriers or restrictors to window openings** *(para. 2.0)* | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Roofs** area with permanent access to have barriers  | [ ]  | [ ]  | [ ]  | Click here to enter text. |

|  |
| --- |
| F5 Construction and Demolition Hazards |
| **N/A** [ ]  | **Applicant to Complete** | **N/A** [ ]  | **Council Use Only** |
| **Description** | **Yes** | **N/A** | **RFI** | **Reasons for Decisions/ Comments** |
| Provide information to demonstrate compliance with Code Clause performance requirements | **Work site barriers** (site fences and hoardings) *(para. 1.0 & 1.1)*  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Water hazards fences** *(para. 1.2)*  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Gantries** and **Toeboards** *(para. 1.4)* | [ ]  | [ ]  | [ ]  | Click here to enter text. |

|  |
| --- |
| F6 Visibility in Escape Routes |
| **N/A** [ ]  | **Applicant to Complete** | **N/A** [ ]  | **Council Use Only** |
| **Description** | **Yes** | **N/A** | **RFI** | **Reasons for Decisions/ Comments** |
| Provide information to demonstrate compliance with Code Clause performance requirements | **Alteration to an existing building or Change of use assessment provided**  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **PS1** provided in relation to emergency lighting design  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Emergency lighting** plan provided: location, illuminance, duration  | [ ]  | [ ]  | [ ]  | Click here to enter text. |

|  |
| --- |
| F7 Warning Systems |
| **N/A** [ ]  | **Applicant to Complete** | **N/A** [ ]  | **Council Use Only** |
| **Description** | **Yes** | **N/A** | **RFI** | **Reasons for Decisions/ Comments** |
| Provide information to demonstrate compliance with Code Clause performance requirements | **Alteration to an existing building or Change of use assessment provided** (where [Section 118](http://legislation.govt.nz/act/public/2004/0072/141.0/DLM306890.html) applies) | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Manual and automatic fire alarm systems** – specifications (Type 2, 3, 4, 5, 6, 7) | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Location** shown on plan (heat/smoke detectors, manual call points, fire alarm panel, hold open device for doors, smoke extract)  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| Is **direct connection** between the alarm system and **FENZ** needed and specified? | [ ]  | [ ]  | [ ]  | Click here to enter text. |

|  |
| --- |
| **F8 Signs** |
| **N/A** [ ]  | **Applicant to Complete** | **N/A** [ ]  | **Council Use Only** |
| **Description** | **Yes** | **N/A** | **RFI** | **Reasons for Decisions/ Comments** |
| Provide information to demonstrate compliance with Code Clause performance requirements | **Alteration to an existing building or Change of use assessment provided** (where [Section 118](http://legislation.govt.nz/act/public/2004/0072/141.0/DLM306890.html) applies) | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Exit and Fire Signage**: Exit signs, call points, fire and smoke doors. Visible at all times - illumination (type) | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Accessibility Signage:** for accessible route and facilities (car parks, entrance, route, services) | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Hazard Signage:** hazardous substances and processes (HSNO CoP2.1 09-04) electrical, lifts, machine rooms, escalators/moving walks, water supplies | [ ]  | [ ]  | [ ]  | Click here to enter text. |

|  |
| --- |
| G1 Personal Hygiene |
| **N/A** [ ]  | **Applicant to Complete** | **N/A** [ ]  | **Council Use Only** |
| **Description** | **Yes** | **N/A** | **RFI** | **Reasons for Decisions/ Comments** |
| Provide information to demonstrate compliance with Code Clause performance requirements | **Alteration to an existing building or Change of use assessment provided** (where [Section 118](http://legislation.govt.nz/act/public/2004/0072/141.0/DLM306890.html) applies) | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Number** of WC pans, basins, urinals, baths and showers (single sex/unisex); in convenient locations; impervious walls around bowls*Refer to fire report occupancy number of occupancy number in relation to facilities required or Table 4.* | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Location of sanitary fixtures**: space, access to food prep area work, basin communal | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Accessible facilities**: access, number, layout | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Privacy**: line of sight, cubicles, lobbies | [ ]  | [ ]  | [ ]  | Click here to enter text. |

|  |
| --- |
| G2 Laundering |
| **N/A** [ ]  | **Applicant to Complete** | **N/A** [ ]  | **Council Use Only** |
| **Description** | **Yes** | **N/A** | **RFI** | **Reasons for Decisions/ Comments** |
| Provide information to demonstrate compliance with Code Clause performance requirements | **Alteration to an existing building or Change of use assessment provided** (where [Section 118](http://legislation.govt.nz/act/public/2004/0072/141.0/DLM306890.html) applies) | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| Laundering facilities: service connections, minimum space, number of facilities | [ ]  | [ ]  | [ ]  | Click here to enter text. |

|  |
| --- |
| G3 Food Preparation and Prevention of Contamination |
| **N/A** [ ]  | **Applicant to Complete** | **N/A** [ ]  | **Council Use Only** |
| **Description** | **Yes** | **N/A** | **RFI** | **Reasons for Decisions/ Comments** |
| Provide information to demonstrate compliance with Code Clause performance requirements | **Alteration to an existing building or Change of use assessment provided** (where [Section 118](http://legislation.govt.nz/act/public/2004/0072/141.0/DLM306890.html) applies) | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Commercial Kitchens***–* refer application to Environment Health Officer via TechOne events | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Domestic Appliances and Facilities:** sink, cooker, food storage, energy source, space and wall linings (house, work camps, old people’s homes and earlier childhood centres | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Accessible preparation area** provided where required (camp grounds and accessible accommodation units in communal residential buildings) | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Commercial and Industrial facilities**: interior linings for food processing and other areas, wash down areas | [ ]  | [ ]  | [ ]  | Click here to enter text. |

|  |
| --- |
| **G4 Ventilation** |
| **N/A** [ ]  | **Applicant to Complete** | **N/A** [ ]  | **Council Use Only** |
| **Description** | **Yes** | **N/A** | **RFI** | **Reasons for Decisions/ Comments** |
| Provide information to demonstrate compliance with Code Clause performance requirements | **SED: PS1** provided | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Natural ventilation:** accommodation unitsand carparks (apartments, hotels, motels) | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Combined** natural ventilation and mechanical ventilation (accommodation units)  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Mechanical ventilation:** outdoor air supply, air-handling systems, extract ventilation etc. car park ventilation | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| Ventilation of spaces containing **gas fuel appliances:** natural/mechanical ventilation, flue construction | [ ]  | [ ]  | [ ]  | Click here to enter text. |

|  |
| --- |
| **G5 Interior Environment** |
| **N/A** [ ]  | **Applicant to Complete** | **N/A** [ ]  | **Council Use Only** |
| **Description** | **Yes** | **N/A** | **RFI** | **Reasons for Decisions/ Comments** |
| Provide information to demonstrate compliance with Code Clause performance requirements | **Alteration to an existing building or Change of use assessment provided** (where [Section 118](http://legislation.govt.nz/act/public/2004/0072/141.0/DLM306890.html) applies) | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Accessible reception counters or desks** (G5.3.4 – communal residential, communal non-residential and commercial buildings) | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Temperature Control details**: habitable spaces, bathrooms and recreation rooms applies to early childhood centres and old people’s homes | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Space**: Living, dining and sleeping areas in old people’s home | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Listening systems** and hearing loops in cinemas, theatres, public halls and communal non-residential with **>250 people,** assembly spaces inold people’s homes with **>20 people** | [ ]  | [ ]  | [ ]  | Click here to enter text. |

|  |
| --- |
| G6 Airborne and Impact Sound |
| **N/A** [ ]  | **Applicant to Complete** | **N/A** [ ]  | **Council Use Only** |
| **Description** | **Yes** | **N/A** | **RFI** | **Reasons for Decisions/ Comments** |
| Provide information to demonstrate compliance with Code Clause performance requirements | **STC and IIC ratings** for building elements which are common between occupancies or common spaces to the habitable spaces of the household units | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Construction details** and/or system specifications.  | [ ]  | [ ]  | [ ]  | Click here to enter text. |

|  |
| --- |
| G7 Natural light |
| **N/A** [ ]  | **Applicant to Complete** | **N/A** [ ]  | **Council Use Only** |
| **Description** | **Yes** | **N/A** | **RFI** | **Reasons for Decisions/ Comments** |
| Provide information to demonstrate compliance with Code Clause performance requirements | **Vertical Windows in External walls** 10% of floor area minimum housing, old people’s homes and early childhood centres or BRE calculation methods (NZS 6703 Appendix A) | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Awareness of the Outside Environment**: clear glazing and location of glazing  | [ ]  | [ ]  | [ ]  | Click here to enter text. |

|  |
| --- |
| G8 Artificial light |
| **N/A** [ ]  | **Applicant to Complete** | **N/A** [ ]  | **Council Use Only** |
| **Description** | **Yes** | **N/A** | **RFI** | **Reasons for Decisions/ Comments** |
| Provide information to demonstrate compliance with Code Clause performance requirements | **Artificial lighting locations**: all exitways, access routes and common spaces (see G8.2 for limitations)  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Illuminance**: minimum 20 lux min at floor level or NZS 6703 Section 11 | [ ]  | [ ]  | [ ]  | Click here to enter text. |

|  |
| --- |
| G9 Electricity |
| **N/A** [ ]  | **Applicant to Complete** | **N/A** [ ]  | **Council Use Only** |
| **Description** | **Yes** | **N/A** | **RFI** | **Reasons for Decisions/ Comments** |
| Provide information to demonstrate compliance with Code Clause performance requirements | **Alteration to an existing building or Change of use assessment provided** (where [Section 118](http://legislation.govt.nz/act/public/2004/0072/141.0/DLM306890.html) applies) | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Light Switched and Plug sockets** for us by a **person with a disability**: details/locations provided  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Emergency Power systems**: details provided where required for an essential service, listed on Compliance Schedule application  | [ ]  | [ ]  | [ ]  | Click here to enter text. |

|  |
| --- |
| G10 – G11 Piped Services & Gas as an Energy Source |
| **N/A** [ ]  | **Applicant to Complete** | **N/A** [ ]  | **Council Use Only** |
| **Description** | **Yes** | **N/A** | **RFI** | **Reasons for Decisions/ Comments** |
| Provide information to demonstrate compliance with Code Clause performance requirements | **Specifications provided**: pipework construction, installation etc. | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Flues**: location, materials, safety devices, fire dampers | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Automatic Extinguishers**  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Protection of Supply** and **Gas Meter location**  | [ ]  | [ ]  | [ ]  | Click here to enter text. |

|  |
| --- |
| **G12 Water supplies** |
| **N/A** [ ]  | **Applicant to Complete** | **N/A** [ ]  | **Council Use Only** |
| **Description** | **Yes** | **N/A** | **RFI** | **Reasons for Decisions/ Comments** |
| Provide information to demonstrate compliance with Code Clause performance requirements | **Alteration to an existing building or Change of use assessment provided** (where [Section 118](http://legislation.govt.nz/act/public/2004/0072/141.0/DLM306890.html) applies) | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Hot and cold water supply** (potable and non-potable)[ ] G12/AS1 [ ] G12/AS2 [ ] G12/VM1 | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Supply type**: town, rainwater, bore, other water supply (potable or non-potable)  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Protection of Potable Water:** hazard and backflow protection information, listed on Compliance Schedule application | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Non-potable Supply:** protection, outlet and pipeline identification |  |  |  |  |
| **Water supply**: access, support, overflow, HWC / header if tank in roof space  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Hot water supply system**: type (electric, gas, solar), size, schematic, seismic restraint, safe tray, wetback | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Safe water temperature**: early childhood centres, schools, old people’s homes, institutions for people with psychiatric or physical disabilities, hospitals (45 degrees). All other buildings (55 degrees) | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Usable Facilities for People with Disabilities:** details provided | [ ]  | [ ]  | [ ]  | Click here to enter text. |

|  |
| --- |
| G13 Foul Water (Sanitary Plumbing and Drainage) |
| **N/A** [ ]  | **Applicant to Complete** | **N/A** [ ]  | **Council use only** |
| **Description** | **Yes** | **N/A** | **RFI** | **Reasons for Decisions/ Comments** |
| **Part 1: Plumbing** |
| Provide information to demonstrate compliance with Code Clause performance requirements | **Plumbing system** identified [ ]  G13/AS1 [ ]  G13/AS3 [ ]  Other | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Waste length to floor waste gully**  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Waste pipe** diameter, length, material and gradients  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Stack System** |
| Provide information to demonstrate compliance with Code Clause performance requirements | **Schematic** provided for any stack system  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| [ ]  Fully vented /modified[ ]  Single stack plumbing /modified[ ]  Suspended drainage principles  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Stacks**, vents & branches: size, gradients & lengths provided  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Exclusion zones** at base of stacks  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Mid floor joists/beam** layout allow passage of stack/branches | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Part 2: Suspended and Subsoil Drainage** |
| Provide information to demonstrate compliance with Code Clause performance requirements | **Drainage system** identified[ ]  G13/AS2 [ ]  G13/AS3 [ ]  Other | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Reticulated services**: connection to public sewer shown on plans and aligns with QLDC mapping or as-built plans *(refer* [*GIS mapping*](http://maps.qldc.govt.nz/qldcviewer/)*)* | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Onsite waste water system**: application complete, report, design and calculations provided [Onsite Wastewater Disposal Guidance](https://www.qldc.govt.nz/planning/building-consents/application-forms/onsite-wastewater-disposal-systems/) [ ] [**AF OSW Application Form**](https://www.qldc.govt.nz/planning/building-consents/application-forms/onsite-wastewater-disposal-systems/) **completed**[ ]  **CS7.2 form – PS details provided** | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Connection to Council services** application provided/required[ ]  [**Connection to Council Services**](https://www.qldc.govt.nz/planning/resource-consents/application-forms/) **Form**  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Council sewer under or within 2.0m** of building, engineering approval provided/required[ ]  [**Building Over Services Application**](https://www.qldc.govt.nz/planning/resource-consents/application-forms/) **form** | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Drains entering other properties**: Section 75 / easements details provided where applicable.[ ]  [**AF 13.1 Form**](https://www.qldc.govt.nz/planning/building-consents/application-forms/residentia/) **completed** | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Grease traps:** refer to Trade Waste officer through TechOne, Figure 4 G13/AS2 for details | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Schematic** provided for above ground suspended drainage  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Drainage** main drain, branches, gradients & lengths provided  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Venting of drains**: terminal vent and unvented branch drains  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Overflow relief** gullies (ORG)/Gully traps: location and charged  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Floor waste gullies** are charged by fixture in same room or tundish  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Access points** (i.e. inspection points, rodding points etc.)  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Angle of influence**, depth and proximity of drain to building  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Plumbing pipes** not running through **point load pad or slab thickenings** *(cross-check against truss plan or engineering’s drawings)* | [ ]  | [ ]  | [ ]  | Click here to enter text. |

|  |
| --- |
| G14 Industrial Liquid Waste |
| **N/A** [ ]  | **Applicant to Complete** | **N/A** [ ]  | **Council Use Only** |
| **Description** | **Yes** | **N/A** | **RFI** | **Reasons for Decisions/ Comments** |
| Provide information to demonstrate compliance with Code Clause performance requirements | **Security** details provided  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Treatment and disposal**: NUO requirements, discharge with or without pre-treatment to comply with G13/AS2 or G14/VM1  | [ ]  | [ ]  | [ ]  | Click here to enter text. |

|  |
| --- |
| G15 Solid Waste |
| **N/A** [ ]  | **Applicant to Complete** | **N/A** [ ]  | **Council Use Only** |
| **Description** | **Yes** | **N/A** | **RFI** | **Reasons for Decisions/ Comments** |
| Provide information to demonstrate compliance with Code Clause performance requirements | **Capacity of Containers and Storage areas**: 80 litres per dwelling (multi-unit and group dwellings), space, ventilation provided | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Carrying distance**: multi-unit and group dwellings, 30 m from chute or storage area  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Solid Waste Storage Areas**: opening windows, water supply, ventilation, mechanical ventilation, access, another acceptable solution NZS 4303 | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Solid Waste Chutes:** details provided | [ ]  | [ ]  | [ ]  | Click here to enter text. |

|  |
| --- |
| H1 Energy Efficiency |
| **N/A** [ ]  | **Applicant to Complete** | **N/A** [ ]  | **Council Use Only** |
| **Description** | **Yes** | **N/A** | **RFI** | **Reasons for Decisions/ Comments** |
| Provide information to demonstrate compliance with Code Clause performance requirements | **Building Thermal Envelope**: Housing and small buildings or Large buildings other than housing, R values for insulation and building elements provided  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Artificial lighting**: commercial and communal non-residential buildings  | [ ]  | [ ]  | [ ]  | Click here to enter text. |

|  |
| --- |
| Specified Systems |
| **N/A** [ ]  | **Applicant to Complete** | **N/A** [ ]  | **Council Use Only** |
| **Description** | **Yes** | **N/A** | **RFI** | **Reasons for Decisions/ Comments** |
| Provide information to demonstrate compliance with Code Clause performance requirements | **Form 27** (Application for Compliance Schedule) or **Form 11** (Application for Amendment to Compliance Schedule) provided and complete | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| **Specified Systems forms** complete up to and including the Performance/Installation information and reviewed | [ ]  | [ ]  | [ ]  | Click here to enter text. |

|  |
| --- |
| Producer Statements and/or other Certificates  |
| **N/A** [ ]  | **Applicant to Complete** | **Yes** | **N/A** | **RFI** | **Reasons for Decisions/ Comments** |
| **Description** |
| Provide information to demonstrate compliance with Code Clause performance requirements | **CS7.2 form** fully completed with all required Producer Statement information as per above sections detailed (*ref* [*IS25 for guidance*](https://www.qldc.govt.nz/planning/building-consents/application-forms/residentia/))  | [ ]  | [ ]  | [ ]  | Click here to enter text. |
| Copies of all relevant **Producer Statements** (PS1s/PS2s) provided. **Construction monitoring** information provided specifying **inspections** to be carried out by third parties. | [ ]  | [ ]  | [ ]  | [ ]  **CS7.1 completed**Click here to enter text. |

|  |  |
| --- | --- |
| COUNCIL USE ONLY- FINAL SIGN OFF  |  |
| **APRROVED** | [ ]  **I am satisfied** ‘on reasonable grounds’ that the Building Consent Documentation to be stamped ‘Approved’ demonstrates compliance with the Building Code, and the Building Consent/Amendment is approved and ready for granting, as per Section 49 of the Building Act 2004 |
| **Processing Officer Sign-off**: | **Date**: Click here to enter text. |
|  |
| **REFUSED** | [ ]  **I am NOT satisfied** that the Building Consent Application Documentation received demonstrates compliance with the Building Code, and the Building Consent/Amendment is therefore recommended for **Refusal** under Section 50 of the Building Act 2004  |
| **Processing Officer Sign-off**:  | **Date**: Click here to enter text. |
|  |
| **Supervision Sign Off (if required)** |
| **Supervisor Sign-off:**  | **Date**: Click here to enter text. |
| **Comments**Click here to enter text. |